## New Product Template
| Tektronix Inc. | [7 empty] | Approved Calibration Provider:
| 13725 SW Karl Braun Drive | [7 empty] | CNUD
Beaverton, OR 97077
503-627-7111
CERTIFICATE OF TRACEABLE CALIBRATION
Certificate No: |  | <CerNo> |  |  | Revision: |  | 0
Manufacturer: |  | Tektronix |  |  | Model: |  | <model> | Serial Number: |  |  | <sn>
Description: |  | <desc> |  |  | Temperature: |  | 23 °C ± 1 °C | Humidity: |  |  | <80% RH
Cal Date: |  | <CalDate> |  |  | Date Placed in Service*: |  |  | Due Date*:
Firmware: |  | <FW>
Tektronix Recommended Cal Interval: __ months
* Optional customer entry fields: The "Due Date" may be established (by the customer) by adding the "Recommended Cal Interval" to the "Date Placed in Service." Recommended calibration intervals, for Tektronix products, are available on the Tektronix website at: http://www.tek.com/service/product-support/
INSTRUMENT CONDITION:
| Received: |  | Not applicable, new product
| Returned: |  | In Tolerance
Tektronix certifies the above instrument has been calibrated using standards traceable to the international system of units (SI) through the NML (Taiwan), NIM (PRC), NIST (USA), or other national metrology institutes. The calibration was performed on behalf of Tektronix, Inc., by a qualified subcontractor at the subcontractor's facility. The quality system at this facility is ISO9001 registered.
This certificate shall not be reproduced, except in full, without the written approval of Tektronix, Inc.
CALIBRATION PROCEDURE:
MANIFEST:Product_Oscilloscopes_Tektronix-DPO1000S-2025_DPO VERSION:1.1
MANIFEST:Product_Oscilloscopes_Tektronix -DPO1000S-2025_AFG VERSION:1
CALIBRATION EQUIPMENT USED:
| MANUFACTURER/MODEL |  |  | MODEL DESCRIPTION |  | ID NUMBER |  |  |  |  | Due Date
| FLUKE/FLUKE9500B |  |  | Oscilloscope calibrator |  | <9500BSN> |  |  |  |  | 19/5/2026
| UNI-T/UTG9000T |  |  | Signal generator |  | <9000TSN> |  |  |  |  | 19/5/2026
| UNI-T/MSO3000HD |  |  | Oscilloscope |  | <3000HDSN> |  |  |  |  | 19/5/2026
| UNI-T/UT8806 |  |  | 6.5 digits desktop digital multimeter |  | <8806sn> |  |  |  |  | 19/5/2026
[6 empty] | Certified By: |  |  |  | 36763
Issued by:
[6 empty] | Date Issued: |  |  |  | 2026-03-19

## After Sales Template (hidden)
| Tektronix Inc. | [8 empty] | Approved Calibration Provider:
| 13725 SW Karl Braun Drive | [8 empty] | <OEM Site Ref. assigned by Tektronix>
Beaverton, OR 97077
503-627-7111
CERTIFICATE OF TRACEABLE CALIBRATION
Certificate No: |  | <certificate #> |  |  |  | Revision: |  | 0
Customer:
<Customer's Company Name>
<CustomerContactPerson, if any>
<Customer Address>
<Customer Address>
<Customer Address>
Manufacturer: |  | Tektronix |  |  |  | Model: |  | <model number> | Serial Number: |  |  | <xxxxxx>
Description: |  | <model description> |  |  |  | Temperature: |  | 23 °C ± <x> °C | Humidity: |  |  | <80% RH
Cal Date: |  | <date of calibration> |  |  |  | Date Placed in Service*: |  |  | Due Date*:
Tektronix Recommended Cal Interval: <x> months
* Optional customer entry fields: The "Due Date" may be established (by the customer) by adding the "Recommended Cal Interval" to the "Date Placed in Service." Recommended calibration intervals, for Tektronix products, are available on the Tektronix website at: http://www.tek.com/service/product-support/
INSTRUMENT CONDITION:
| Received: |  |  | Not applicable, new product
| Returned: |  |  | In Tolerance
| Comments: |  |  | <if Received or Returned Condition is other than "In Tolerance", a brief explanation of condition is required, if Out of Tolerance", The out of tolerance measured values must be reported either in comments or on the attached Cal Data Report, if so report measurement parameter impacted and "see attached Data Report">
Tektronix certifies the above instrument has been calibrated using standards traceable to the international system of units (SI) through the NML (Taiwan), NIM (PRC), NIST (USA), or other national metrology institutes. The calibration was performed on behalf of Tektronix, Inc., by a qualified subcontractor at the subcontractor's facility. The quality system at this facility is ISO9001 registered.
This certificate shall not be reproduced, except in full, without the written approval of Tektronix, Inc.
CALIBRATION PROCEDURE:
<procedure identification>
CALIBRATION EQUIPMENT USED:
| MANUFACTURER/MODEL |  |  |  | MODEL DESCRIPTION |  | ID NUMBER |  |  |  |  | Due Date
| <Mfr & Model #> |  |  |  | <Model Description> |  | <ID number> |  |  |  |  | <date due cal>
| Issued by: |  | <signature> |  |  |  | Certified By: |  |  |  | <name>
<name, title>
[7 empty] | Date Issued: |  |  |  | <date>

## Revision Control (hidden)
REVISION RECORD
Version | Issue Date | Initiator | Nature of Change
1 | 2012-07-23 | D. Knapp | Initial Release
2 | 2013-08-15 | S. Moskalets | Minor format update